## Slide 1: Siemens Acuson S2000 Ultrasound

## Slide 2: Features
Dynamic tissue contrast enhancement
Spatial compounding
2D and spectral Doppler imaging
HD transducer support
Elastography / tissue strain imaging
Volumetric / 3D imaging
Automated lesion annotation tools

## Slide 3: Ergonomic Workspace

## Slide 4: Ergonomic Workspace
Dials for
adjusting
dynamic
parameters

## Slide 5: Ergonomic Workspace
Dynamic
frequency
selection

## Slide 6: Ergonomic Workspace
Cinematic
scrubber

## Slide 7: Ergonomic Workspace
Doppler
imaging
controls

## Slide 8: Ergonomic Workspace
Time-gain
compensation
adjustment

## Slide 9: Ergonomic Workspace
Transmit
power
adjustment

## Slide 10: Transducers

## Slide 11: Transducers
9L4
  4 – 9 MHz linear transducer (“MultiHertz”)
  “Multi-D” transducer (combines multiple frequencies for imaging)
  Harmonic compounding
  All forms of elastography
4V1
  1 – 4.5 MHz linear Hanafy transducer (“MultiHertz”)
  Harmonic compounding
  Only ARFI and shear wave elastography
Numerous other transducers available

## Slide 12: Elastography
Capable of:
  Quasi-static (“eSie Touch Elasticity Imaging”)
    Manually compress tissue
  Acoustic Radiation Force Impulse (ARFI) (“Virtual Touch Imaging”)
    Acoustic radiation compresses tissue
  Shear Wave Speed Quantification (“Virtual Touch Quantification”)
    Generate shear waves and measure velocity

## Slide 13: Quasi-Static Elastography

## Slide 14: Quasi-Static Elastography

## Slide 15: Quasi-Static Elastography Acquisition

## Slide 16: ARFI Imaging
Soft lesion

## Slide 17: ARFI Imaging
Hard lesion
4 cm

## Slide 18: ARFI Imaging
Hard lesion

## Slide 19: Shear Wave Speed Quantification
23.4 kPa

## Slide 20: Shear Wave Speed Quantification
70.8 kPa
≈ 3× stiffer

## Slide 21: Conclusions
Powerful and capable machine
Extensible and upgradeable with alternate transducers and software packages
Full elastography capability with two transducers